## Chapter Purpose

The purpose of this chapter is to describe how to prevent fires by recognizing fire hazards; establishing preventive measures; and, if a fire occurs, responding appropriately to it. Participants will become acquainted with the elements of an effective fire safety program and with the supervisor’s responsibilities in implementing such a program.

# In-Class Activity:
Can You Put Out that Fire?

## Instructions

NOTE: This activity will require the use of a space suitable for the safe demonstration and discharge of a fire extinguisher.

- Reserve your space in advance.

- Bring a hand portable fire extinguisher that is not part of the regular fire extinguishing equipment of another area of operations.

- Explain that all of the information covered in this activity can be used off the job. Participants may use the Fire Extinguisher Selection and Use Checklist to select and purchase a fire extinguisher for their home and car, if they have not already. They can also train family members in the correct use of extinguishers.

- Before demonstrating, review the class of the fire and the type of extinguisher you have.

- Tell participants you will demonstrate how to correctly use a fire extinguisher to put out a fire. (If possible, allow all participants to demonstrate how to use an extinguisher.)

- Demonstrate how to use the extinguisher on a safely contained fire.

- Have the extinguisher refilled and serviced following the activity.

# In-Class Activity: 
Fire Extinguisher Selection and Use Checklist

| Selecting a Fire Extinguisher |
| --- |
| What types of flammable materials are found where the fire extinguisher will be used? |
| Class A—Ordinary combustible materials such as wood, paper, cloth, rubber, and many plastics | Class C—Fire in Class A or B materials where there is an electrical exposure and the use of a non-conductive extinguishing agent is critical |
| Class B—Flammable liquids, greases, oils, tars, oil-based paints, lacquers, and similar materials | Class D—Combustible metals such as magnesium, lithium, and sodium |
| Class K— Combustibles found in commercial kitchens, such as vegetable oils, animal oils, or cooking fats |  |

| Judging When to Use an Extinguisher |
| --- |
| Use a fire extinguisher only when all of the following conditions are met: |
| An alarm has been sounded or the fire reported (from a safe location). | You have been trained in the proper use of an extinguisher. |
| The fire is small and contained. | You have the correct kind of extinguisher for the class of fire. |
| You realistically think the extinguisher can put out the fire. |  |

| Practicing Using the Extinguisher to Put Out the Fire |
| --- |
| Make certain the fire extinguisher is the correct type before using it. | Follow the directions for use written on the fire extinguisher. |
| Practice using the extinguisher before an emergency arises. | Aim for the base of the flames. |