Industrial Hygiene

Chapter 19 – Local Exhaust Ventilation

Study Questions

Vocabulary Terms

local exhaust ventilation (LEV)

hood

capturing hood

enclosure

receiving hood

slot hood

canopy hood

duct

exhaust stack

roof boundary wake re-entry

crosswind-induced downdraft re-entry

wind direction re-entry

fan

axial flow fan

centrifugal fan

radial-blade fan

forward-curved blade fan

backward-curved blade fan

air cleaning device

filter

electrostatic precipitator

cyclone

wet scrubber

absorption

adsorption

oxidation

make-up air

air-bound/air-starved

blow-out panel

smoke-tube test

thermo-anemometer

rotating vane anemometer

swinging vane velometer

duct velocity traverse

Essay

Describe the difference between ‘local exhaust ventilation’ and ‘dilution ventilation.’

What are two advantages provided by local exhaust ventilation?

Identify the components of a typical local exhaust ventilation system.

What is the purpose of the ‘hood?’

Identify and briefly describe the three main types of ‘hoods.’

Identify and briefly describe the two special ‘hood’ types.

What is the purpose of the ‘ducts?’

Why is the use of light-weight, flexible ducts ill advised?

Identify three considerations regarding airflow in ducts.

What is the purpose of the ‘exhaust stack?’

What considerations must be made to prevent exhaust discharge re-entry into buildings?

Identify and briefly describe the three means by which exhaust discharge re-entry can occur.

What is the purpose of the ‘fan?’

What are the two main categories of ‘fans?’

Identify, briefly describe, and list the benefit provided by each of the three types of centrifugal fans.

What is the purpose of an ‘air-cleaning device?’

What are the characteristics of the ‘ideal’ air cleaner for a specific application?

Identify and briefly describe the four typical air cleaning devices for particulates.

Identify and briefly describe the three major removal techniques for gases and vapors.

Identify four factors that enhance the performance of gas/vapor removal through absorption.

What is the purpose of ‘make-up air?’

Identify five features that the make-up air system should exhibit.

Identify and briefly describe three methods for evaluating a local exhaust ventilation system performance.

Identify three devices that can be used to measure the velocity of air when assessing LEV performance?

Be able to describe how each works.