# Supervisors' Safety Manual, Tenth Edition

# Chapter 1717: Fire SafetyFire Safety

## True or False

Directions: Circle T if the statement is True and F if the statement is False.

|  | T | F | Fire is oxidation. |
| --- | --- | --- | --- |
|  | T | F | To find out about a substance’s fire hazard characteristics, check its Safety Data Sheet. |
|  | T | F | Knowing the characteristics of all materials stored in the department promotes fire safety. |
|  | T | F | Fires in or near live electrical equipment are classified as Class B fires. |
|  | T | F | If you remove one component of fire chemistry, the fire will go out. |
|  | T | F | A Class D fire uses combustible metals as fuel. |
|  | T | F | Flammable liquids should be stored in special, approved containers. |
|  | T | F | A welding operation can be a source of ignition for a fire. |
|  | T | F | One item on a fire safety inspection checklist should specify that fire fighting equipment in the department is not obstructed. |
|  | T | F | The only purpose of a fire safety inspection is to detect hazards. |
|  | T | F | When inspecting your area for fire hazards, it is a good idea to have a checklist. |
|  | T | F | For fire safety, combustible materials should be stored away from the workplace at the end of the day. |
|  | T | F | All employees should be given instructions on the fire alarm system in the department, plant, or area where they work. |
|  | T | F | Fires from ordinary combustibles such as wood and paper are best classified as Class C fires. |
|  | T | F | Fire extinguishers do not require training before use. |

## Multiple Choice

Directions: Select the best answer and place the corresponding letter in the box provided.

| 1 |  | When a fire is spotted, personnel should be trained to first: |
| --- | --- | --- |
|  | A. | Report it. |
|  | B. | Attempt to extinguish the fire. |
|  | C. | Notify the supervisor. |
|  | D. | Seek help. |

| 1 |  | To extinguish a fire: |
| --- | --- | --- |
|  | A. | Remove the oxygen. |
|  | B. | Remove the fuel. |
|  | C. | Cool the burning material. |
|  | D. | Any of the above |

| 1 |  | A fire extinguisher must: |
| --- | --- | --- |
|  | A. | Be kept fully charged. |
|  | B. | Be located along normal paths of travel. |
|  | C. | Not be obstructed. |
|  | D. | All of the above. |

| 1 |  | The elements of an effective fire safety program include: |
| --- | --- | --- |
|  | A. | Practices and procedures. |
|  | B. | Training and communication for employees. |
|  | C. | Inspections and enforcement. |
|  | D. | All of the above. |

| 1 |  | Which of the following is NOT an example of a Class K combustible: |
| --- | --- | --- |
|  | A. | Fats. |
|  | B. | Motor oils. |
|  | C. | Animal oils. |
|  | D. | Vegetable oils. |

| 1 |  | In addition to fire extinguishers, other fire fighting equipment that might be found in a facility includes: |
| --- | --- | --- |
|  | A. | Automatic sprinkler systems. |
|  | B. | Hoses and standpipe systems. |
|  | C. | Foam or other special systems or agents. |
|  | D. | All of the above. |

| 1 |  | A supervisor’s responsibilities in a fire safety program might include: |
| --- | --- | --- |
|  | A. | Inspecting with checklists. |
|  | B. | Making sure employees comply with fire safety practices. |
|  | C. | Training employees on fire safety. |
|  | D. | All of the above. |

| 1 |  | Fires of certain metals and their chips: |
| --- | --- | --- |
|  | A. | Should be extinguished with water. |
|  | B. | Require special extinguishing agents and techniques. |
|  | C. | Are known as Class B fires. |
|  | D. | Burn slowly and are easily controlled. |

| 1 |  | A source of ignition is: |
| --- | --- | --- |
|  | A. | Friction. |
|  | B. | Static electricity. |
|  | C. | An open flame. |
|  | D. | All of the above. |

| 1 |  | A fire safety program includes: |
| --- | --- | --- |
|  | A. | Hazard recognition. |
|  | B. | Corrective action on hazards. |
|  | C. | Housekeeping practices. |
|  | D. | All of the above. |

## Chapter 17: Fire Safety

## Answer Key

1.	T

2.	T

3.	T

4.	F

5.	T

6.	T

7.	T

8.	T

9.	T

10.	F

11.	T

12.	T

13.	T

14.	F

15.	F

16.	A

17.	D

18.	D

19.	D

20.	B

21.	D

22.	D

23.	B

24.	D

25.	D