## Slide 1: CHAPTER 7
Aerosols

## Slide 2: Learning Objectives
Describe the different types of aerosols.
Understand the basic effects on the lungs associated with aerosol inhalation.
Assemble the appropriate equipment and perform calibration using primary and secondary standards on a general total nonfibrous contaminant sampling train.
List the basic steps to conduct aerosol monitoring on a worker.
Propose a strategy that can monitor the majority of nonfibrous contaminants based on sampling objectives.
Conduct nonfibrous aerosol monitoring, properly ship samples to the lab, and request pertinent analysis on the basis of sampling objectives.

## Slide 3: Types of Aerosols
Dust
Mist
Fog
Fumes
Smoke
Fibers

## Slide 4: Aerosol Deposition

## Slide 5
Relative Sizes of Aerosols

## Slide 6: Aerodynamic Diameter and Impaction
Inhalable particulate mass—100 mm
Thoracic particulate mass—10 mm
Respirable particulate mass—4 mm

## Slide 7
Source: Modified from Bugarski and Gautam 2014
Particle Deposition

## Slide 8: Air Sampling Pump Calibration

## Slide 9: Correcting for Temperature and Pressure

## Slide 10
Calibration Techniques

## Slide 11
Calibration Techniques (cont.)

## Slide 12
Calibration Techniques (cont.)

## Slide 13
Rotameter Calibration

## Slide 14
Rotameter Calibration (cont.)

## Slide 15
Particulate Sampling

## Slide 16
Particulate Sampling (cont.)

## Slide 17
Cyclone Devices

## Slide 18
Cyclone Devices (cont.)

## Slide 19
Cyclone Devices (cont.)