FUNDAMENTALS OF INDUSTRIAL HYGIENE, 6TH ED.

HOMEWORK #7

INDIVIDUAL MEASUREMENT OF ELECTRICITY

Name:  		KEY																	49 pts. possible

EXERCISES:  Perform the calculations identified below.  Show your work neatly and clearly in a manner similar to the examples provided above (i.e., write the formula and show steps of your calculations).

Part I:  Basic Electrical Units

1a)	Consider a short piece of insulated wire.  Is there a current flowing in this wire?  (1 point)

No.  There might be a few electrons moving about, but no organized flow and, thus, no current.

1b) The two ends of the wire are connected together to form a complete circuit.  Now is there a current flowing in the wire?  (1 point)

No.  There is no voltage acting upon the electrons, so there is no flow, even though there is a complete circuit.

A wire is only a conductor . . . not a battery.

1c)	Given a 50-amp load and a conductor having 4.4-ohm resistance, what is the voltage?  (2 points)

V  =  I  R

V  =  50    4.4

V  =  220 volts

1d)	Given 440 volts and a conductor with 3.2-ohm resistance, what is the amperage?  (2 points)

I = V ÷ R

I = 440 ÷ 3.2

I = 137.5 amps

1e)	Given 120 volts and a 10-amp load, what is the resistance of the conductor?  (2 points)

R  =  V ÷ I

R  =  120  ÷  10

R  =  12 ohms

1f)	A filament of a flashlight bulb has a resistance of 50 ohms and should be used with a current of 0.03 amps.  What volt battery is needed?  (2 points)

V  =  I  R

V  =  0.03    50

V  =  1.5 volts

1g)	A 3-volt battery is used with a flashlight bulb having a resistance of 100 ohms.  How much current is flowing when the bulb is lit?  (2 points)

I = V ÷ R

I = 3 ÷ 100

I = 0.03 amps

1h)	A 4.5-volt battery is used to produce a 0.3-amp current in a flashlight bulb.  What is the resistance of the light bulb filament?  (2 points)

R  =  V ÷ I

R  =  4.5  ÷  0.3

R  =  15 ohms

Part II:  Units of Electrical Power and Energy

Electric heaters are designed around high resistance conductors that convert electric energy into heat energy.  If a 120-volt portable heater with a 10-ohm resistance is plugged in and turned on the highest setting.

2a)	What is the current flowing through it?  (2 points)

I = V / R

I = 120 volts / 10 ohms

I = 12 amps

2b)	What is the power rating of this heater?  (2 points)

P = V2 / R							P = V  I

P = 1202 volts / 10 ohms  			P = 120 volts  12 amps

P = 14400 volts / 10 ohms			P = 1440 watts

P = 1440 watts

2c)	How much energy is consumed if this heater is left on for 8 hours?  (2 points)

E = P  time

E = 1440 watts  8 hours

E = 11520 Wh  (11.5 kWh)

A toaster operates at 120 volts and is rated at 800 watts.

2d)	What is the resistance of the toaster element?  (2 points)

R = V2 / P

R = 1202 volts / 800 watts

R = 14400 / 800

R = 18 ohms

2e)	What is the current flowing through it?  (2 points)

I = V / R						I = P / V

I = 120 volts / 18 ohms			I = 800 watts / 120 volts

I = 6.7 amps					I = 6.7 amps

Consider the following bathroom on a 120-volt, 20-amp circuit (i.e., the bathroom circuit is protected by a 20-amp breaker to prevent overheating of the wires and damage to fixtures).  The homeowner enters the bathroom and turns on the 100-watt light, an 850-watt heater, and a 400-watt ventilation fan.  After showering, the person plugs in an 1100-watt blow-dryer.

2f)	Calculate the individual current (amperage) drawn by each item (4 points)

I = P / V					  I = P / V				    I = P / V					I = P / V

I = 100 watts/120 volts	  I = 850 watts/120 volts	    I = 400 watts/120 volts 	I = 1100watts /120 volts

I = 0.83 amps			  I = 7.08 amps			    I = 3.33 amps			I = 9.17 amps

2g)	Is the bathroom circuit overloaded?  (2 points)

Yes, barely.

Total = 20.4 amps

Part III:  Electric Power Transmission

Wanapum Dam on the Columbia River generates 1100 MW (1,100,000,000 watts) of power consisting of a current of 40,741 amps at 27,000 volts.  As was seen in previous calculations, electric power is transmitted better (i.e., with less loss) if the size of the conductor is increased and if the voltage is higher.  To transmit its load more efficiently, the power generated at Wanapum Dam is stepped-up to 230 kV (230,000 volts) before being sent down a 7.62-cm (3-in) ACSR overhead power line to Seattle 225 km (140 mi) away.

3a)	What is the current (in amps) in the transmission lines?  (2 points)

I  =  P  ÷  V

I  =  1,100,000,000 watts  ÷300volts

I  =  4783 amps

3b)	What is the ratio of wraps between the primary coil and secondary coil in the step-up transformer?

(2 points)

II° voltage ÷ I° voltage  =  # turns in II° coil ÷ # turns in I° coil

230,000 volts ÷ 27,000 volts  =  # turns in II° coil ÷ # turns in I° coil

1 to 8.5     (8.5 to 1)

3c)	When the electric power arrives near its destination, it is routed through a sub-station where the voltage is stepped-down to 14,400 volts for local distribution.  What is the ratio of wraps between the primary coil and secondary coil in the step-down transformer?  (2 points)

I° voltage ÷ II° voltage  =  # turns in I° coil ÷ # turns in II° coil

230,000 volts ÷ 14,400 volts  =  # turns in I° coil ÷ # turns in II° coil

16 to 1     (1 to 16)

3d)	Prior to being sent into a home, the electric power is again passed through a transformer (typically on a power pole adjacent to the home), where the voltage is stepped-down to 240 volts.  What is the ratio of wraps between the primary coil and the secondary coil in the step-down transformer?  (2 points)

I° voltage ÷ II° voltage  =  # turns in I° coil ÷ # turns in II° coil

14,400 volts ÷ 240 volts  =  # turns in I° coil ÷ # turns in II° coil

60 to 1     (1 to 60)

During a winter power outage, a homeowner connects a 6,000 watt generator and feeds 240 volts into their breaker panel.

3e)	How many amps of current are flowing into the breaker panel?  (2 points)

I  =  P  ÷  V

I  =  6,000 watts  ÷40volts

I  =  25 amps

In response to the power outage, linemen begin working to repair breaks in the power lines.  Since the power is out in the neighborhood, the linemen assume there is no power in the lines they are handling.  Unfortunately, the homeowner forgot to flip the main feed breaker when they hooked up the generator.  As a result, power from the generator is back-feeding through the transformer outside the house and into these same power lines.

3f)	What voltage are the workers exposed to?  (2 points)

ratio of I° to II° coils is 60 to 1

240 volts  60 = ~14,400 volts

3g)	What current are the workers exposed to?  (2 points)

ratio of I° to II° coils is 63.6 to 1

25 amps ÷ 60 = ~0.42 amps

3h)	Could this current be lethal to the linemen?  Describe how.  (5 points)

Yes, it could well prove lethal.

At around 10 milliamperes, AC current passing through the arm of a person can cause powerful muscle contractions.

The victim is then unable to voluntarily control muscles and cannot release an electrified object.

A sustained shock from AC at 120 volts (60 Hz) is an especially dangerous source of ventricular fibrillation because it usually exceeds the let-go threshold, while not delivering enough initial energy to propel the person away from the source.

With voltages over 200-volts, dielectric breakdown of the skin occurs, lowering its impedance.

The voltage and current in the example are far high enough to induce ventricular fibrillation, which, if untreated, can be fatal.

In addition, potentially lethal consequences could involve falls from elevation.